## 工作表1
002002 | [8 empty] | ID:1 | IP:
| I/O IP | I/O ADDRESS | DESCRIPTION |  | TAGNAME |  | Unit | Scale | SCADA TAGNAME | SCADA Comment | Data Address | TYPE | OFF DESPLAY | ON DESPLAY | Alarm ENABLE | EventLogged | History Trend | 現場測試 | 備 註
| 設備IP | 軟體點 | 說明 |  | 點名稱 | 說明 | 說明 | 說明 | 圖控點名稱 | 圖控點名稱 | 圖控點位址 | 資料型態 | 0顯示 | 1顯示 | Alarm | Enable
| 192.168.50.63 | 42101 | Grid-A V00004937306 | Read | FB_Status_Word | 沒使用 | [5 empty] | Word
|  | 42102 |  | Read | FB_General_Status_Word | 變頻器狀態 | [5 empty] | Word
|  | 42103 |  | Read | Active_Current | 實功電流 | % | *.*% |  |  |  | INT
|  | 42104 |  | Read | Total Current | 輸出頻率 | A | *.*A |  |  |  | INT
|  | 42105 |  | Read | Operation_Mode | 模式 | [5 empty] | INT | [6 empty] | 0 = AFE /1 = Island /2 = Micro Grid
|  | 42106 |  | Read | Power_kW | 輸出功率 | Kw | *KW |  |  |  | INT
|  | 42107 |  | Read | Freq. Reference | 馬達轉矩 | Hz | *.*Hz |  |  |  | INT
|  | 42108 |  | Read | Supply Frequency | 馬達功率 | Hz | *.**Hz |  |  |  | INT
|  | 42109 |  | Read | Unit Temp | 變頻器溫度 | ℃ | *℃ |  |  |  | INT
|  | 42110 |  | Read | DC-Link_Voltage | 直流電壓 | V | *V |  |  |  | INT
|  | 42111 |  | Read | Fault | 當前故障代碼 | [5 empty] | INT
|  | 42112 |  | Read | Line Voltage D7 | 偵測電壓 | V | *V |  |  |  | INT
|  | 42113 |  | Read | Line Frequency D7 | 偵測頻率 | Hz | *.**Hz |  |  |  | INT
|  | 42001 |  | Write | FB_Control_Word | 通訊控制 | [5 empty] | Word
|  | 42002 |  | Write | FB_General_Control_Word | 沒使用 | [5 empty] | Word
|  | 42003 |  | Write | DC_Voltage_Ref | 沒使用 | % | *.*% |  |  |  | INT | [6 empty] | 設定電壓/594=***.**%
|  | 42004 |  | Write | FB_Micro_Grid_CW1 | 沒使用 | 0 | 0 |  |  |  | INT
|  | 42005 |  | Write | 0 | 沒使用 | 0 | 0 |  |  |  | INT
|  | 42006 |  | Write | 0 | 沒使用 | 0 | 0 |  |  |  | INT
| 192.168.50.64 | 42101 | Grid-B V00004937309 | Read | FB_Status_Word | 沒使用 |  |  | 0 | 0 | 0 | Word | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42102 |  | Read | FB_General_Status_Word | 變頻器狀態 |  |  | 0 | 0 | 0 | Word | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42103 |  | Read | Active_Current | 實功電流 | % | *.*% | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42104 |  | Read | Total Current | 輸出頻率 | A | *.*A | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42105 |  | Read | Operation_Mode | 模式 |  |  | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 0 = AFE /1 = Island /2 = Micro Grid
|  | 42106 |  | Read | Power_kW | 輸出功率 | Kw | *KW | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42107 |  | Read | Freq. Reference | 馬達轉矩 | Hz | *.*Hz | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42108 |  | Read | Supply Frequency | 馬達功率 | Hz | *.**Hz | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42109 |  | Read | Unit Temp | 變頻器溫度 | ℃ | *℃ | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42110 |  | Read | DC-Link_Voltage | 直流電壓 | V | *V | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42111 |  | Read | Fault | 當前故障代碼 |  |  | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42112 |  | Read | Line Voltage D7 | 偵測電壓 | V | *V |  |  |  | INT
|  | 42113 |  | Read | Line Frequency D7 | 偵測頻率 | Hz | *.**Hz |  |  |  | INT
|  | 42001 |  | Write | FB_Control_Word | 通訊控制 |  |  | 0 | 0 | 0 | Word | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42002 |  | Write | FB_General_Control_Word | 沒使用 |  |  | 0 | 0 | 0 | Word | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42003 |  | Write | DC_Voltage_Ref | 沒使用 | % | *.*% | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 設定電壓/594=***.**%
|  | 42004 |  | Write | FB_Micro_Grid_CW1 | 沒使用 | 0 | 0 | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42005 |  | Write | 0 | 沒使用 | 0 | 0 | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 42006 |  | Write | 0 | 沒使用 | 0 | 0 | 0 | 0 | 0 | INT | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Grid
|  | 位置 | Motor |  | Unit | Scale
| R | 42101 |  | FB_Status_Word
|  | 42102 | 68 | FB_General_Status_Word
|  | 42103 | 1125 | Active_Current | % | *.*%
|  | 42104 | 1104 | Total Current | A | *.*A
|  | 42105 | 1615 | Operation_Mode
|  | 42106 | 1508 | Power_kW | Kw | *KW
|  | 42107 | 1752 | Freq. Reference | Hz | *.*Hz
|  | 42108 | 1 | Supply Frequency | Hz | *.**Hz
|  | 42109 | 1109 | Unit Temp | ℃ | *℃
|  | 42110 | 1108 | DC-Link_Voltage | V | *V
|  | 42111 | 37 | Fault |  |  |  | b12同步完成旗標
|  | 42112 | 1650 | Line Voltage D7 | V | *V
|  | 42113 | 1654 | Line Frequency D7 | Hz | *.**Hz | 偵測到的頻率
42114
42115
42116
42117
42118
42119
| W | 42001 |  | FB_Control_Word
|  | 42002 |  | FB_General_Control_Word
|  | 42003 |  | DC_Voltage_Ref | % | *.*%
|  | 42004 | 1700 | FB_Micro_Grid_CW1
42005
42006
42007
42008
42009
42010
42011
42012
42013
42014
42015
42016
42017
42018
|  | 42019 | [5 empty] | 控制頻率流程
b10, b11都寫1 -> b5 / b4寫1
開機流程
b10寫1 -> B00寫1 -> B03寫1
溫度不建議超過60
內建保護7x |  |  |  | 關機流程
B03寫0→B01寫0→B00寫0
停止流程
B03寫0
清除故障流程
B07寫1→持續5秒→B07寫0
AFE -> 穩定DC段 有DC ref volt.
microfrid -> 穩定AC段 有AC ref freq.

## 資料驗證 (hidden)
S.T. | S.T.N. | D.T | D.T.N | S.T. | System Tag
#REF! | #REF! | 1 | #REF! | S.T.N. | System Tag Name
#REF! | #REF! | 2 | #REF! | D.T | Drive Tag
#REF! | #REF! | 3 | #REF! | D.T.N | Drive Tag Name
#REF! | #REF! | 4 | #REF!
#REF! | #REF! | 5 | #REF!
#REF! | #REF! | 6 | #REF!
#REF! | #REF! | 7 | #REF!
#REF! | #REF! | 8 | #REF!
#REF! | #REF! | 9 | #REF!
#REF! | #REF! | 10 | #REF!
#REF! | #REF! | 11 | #REF!
#REF! | #REF! | 12 | #REF!
#REF! | #REF! | 13 | #REF!
#REF! | #REF! | 14 | #REF!
#REF! | #REF! | 15 | #REF!
#REF! | #REF! | 16 | #REF!
#REF! | #REF! | 17 | #REF!
#REF! | #REF! | 18 | #REF!
#REF! | #REF! | 19 | #REF!
#REF! | #REF! | 20 | #REF!
#REF! | #REF! | 21 | #REF!
#REF! | #REF! | 22 | #REF!
#REF! | #REF! | 23 | #REF!
#REF! | #REF! | 24 | #REF!
#REF! | #REF! | 25 | #REF!
#REF! | #REF! | 26 | #REF!
#REF! | #REF! | 27 | #REF!
#REF! | #REF! | 28 | #REF!
#REF! | #REF! | 29 | #REF!
#REF! | #REF! | 30 | #REF!
#REF! | #REF! | 31 | #REF!
#REF! | #REF! | 32 | #REF!
#REF! | #REF! | 33 | #REF!
#REF! | #REF! | 34 | #REF!
#REF! | #REF! | 35 | #REF!
#REF! | #REF! | 36 | #REF!
#REF! | #REF! | 37 | #REF!
#REF! | #REF! | 38 | #REF!
#REF! | #REF! | 39 | #REF!
#REF! | #REF! | 40 | #REF!
#REF! | #REF! | 41 | #REF!
#REF! | #REF! | 42 | #REF!
#REF! | #REF! | 43 | #REF!
#REF! | #REF! | 44 | #REF!
#REF! | #REF! | 45 | #REF!
#REF! | #REF! | 46 | #REF!
#REF! | #REF! | 47 | #REF!
#REF! | #REF! | 48 | #REF!
#REF! | #REF! | 49 | #REF!
#REF! | #REF! | 50 | #REF!
#REF! | #REF! | 51 | #REF!
#REF! | #REF! | 52 | #REF!
#REF! | #REF! | 53 | #REF!
#REF! | #REF! | 54 | #REF!
#REF! | #REF! | 55 | #REF!
#REF! | #REF! | 56 | #REF!
#REF! | #REF! | 57 | #REF!
#REF! | #REF! | 58 | #REF!
#REF! | #REF! | 59 | #REF!
#REF! | #REF! | 60 | #REF!
#REF! | #REF! | 61 | #REF!
#REF! | #REF! | 62 | #REF!
#REF! | #REF! | 63 | #REF!
#REF! | #REF! | 64 | #REF!
#REF! | #REF! | 65 | #REF!
#REF! | #REF! | 66 | #REF!
#REF! | #REF! | 67 | #REF!
#REF! | #REF! | 68 | #REF!
#REF! | #REF! | 69 | #REF!
#REF! | #REF! | 70 | #REF!
#REF! | #REF! | 71 | #REF!
#REF! | #REF! | 72 | #REF!
#REF! | #REF! | 73 | #REF!
#REF! | #REF! | 74 | #REF!
#REF! | #REF! | 75 | #REF!
#REF! | #REF! | 76 | #REF!
#REF! | #REF! | 77 | #REF!
#REF! | #REF! | 78 | #REF!
#REF! | #REF! | 79 | #REF!
#REF! | #REF! | 80 | #REF!
#REF! | #REF! | 81 | #REF!
#REF! | #REF! | 82 | #REF!
#REF! | #REF! | 83 | #REF!
#REF! | #REF! | 84 | #REF!
|  | 85 | #REF!
|  | 86 | #REF!
|  | 87 | #REF!
|  | 88 | #REF!
|  | 89 | #REF!
|  | 90 | #REF!
|  | 91 | #REF!
|  | 92 | #REF!
|  | 93 | #REF!
|  | 94 | #REF!
|  | 95 | #REF!
|  | 96 | #REF!
|  | 97 | #REF!
|  | 98 | #REF!
|  | 99 | #REF!
|  | 100 | #REF!
|  | 101 | #REF!
|  | 102 | #REF!
|  | 103 | #REF!
|  | 104 | #REF!
|  | 105 | #REF!
|  | 106 | #REF!
|  | 107 | #REF!
|  | 108 | #REF!
|  | 109 | #REF!
|  | 110 | #REF!
|  | 111 | #REF!
|  | 112 | #REF!
|  | 113 | #REF!
|  | 114 | #REF!
|  | 115 | #REF!
|  | 116 | #REF!
|  | 117 | #REF!
|  | 118 | #REF!
|  | 119 | #REF!
|  | 120 | #REF!
|  | 121 | #REF!
|  | 122 | #REF!
|  | 123 | #REF!
|  | 124 | #REF!
|  | 125 | #REF!
|  | 126 | #REF!
|  | 127 | #REF!
|  | 128 | #REF!
|  | 129 | #REF!
|  | 130 | #REF!
|  | 131 | #REF!
|  | 132 | #REF!
|  | 133 | #REF!
|  | 134 | #REF!
|  | 135 | #REF!
|  | 136 | #REF!
|  | 137 | #REF!
|  | 138 | #REF!
|  | 139 | #REF!
|  | 140 | #REF!
|  | 141 | #REF!
|  | 142 | #REF!
|  | 143 | #REF!
|  | 144 | #REF!
|  | 145 | #REF!
|  | 146 | #REF!
|  | 147 | #REF!
|  | 148 | #REF!
|  | 149 | #REF!
|  | 150 | #REF!
|  | 151 | #REF!
|  | 152 | #REF!
|  | 153 | #REF!
|  | 154 | #REF!
|  | 155 | #REF!
|  | 156 | #REF!
|  | 157 | #REF!
|  | 158 | #REF!
|  | 159 | #REF!
|  | 160 | #REF!
|  | 161 | #REF!
|  | 162 | #REF!
|  | 163 | #REF!
|  | 164 | #REF!
|  | 165 | #REF!
|  | 166 | #REF!
|  | 167 | #REF!
|  | 168 | #REF!
|  | 169 | #REF!
|  | 170 | #REF!
|  | 171 | #REF!
|  | 172 | #REF!
|  | 173 | #REF!
|  | 174 | #REF!
|  | 175 | #REF!
|  | 176 | #REF!
|  | 177 | #REF!
|  | 178 | #REF!
|  | 179 | #REF!
|  | 180 | #REF!
|  | 181 | #REF!
|  | 182 | #REF!
|  | 183 | #REF!
|  | 184 | #REF!
|  | 185 | #REF!
|  | 186 | #REF!
|  | 187 | #REF!
|  | 188 | #REF!
|  | 189 | #REF!
|  | 190 | #REF!
|  | 191 | #REF!
|  | 192 | #REF!
|  | 193 | #REF!
|  | 194 | #REF!
|  | 195 | #REF!
|  | 196 | #REF!
|  | 197 | #REF!
|  | 198 | #REF!
|  | 199 | #REF!
|  | 200 | #REF!
|  | 201 | #REF!
|  | 202 | #REF!
|  | 203 | #REF!
|  | 204 | #REF!
|  | 205 | #REF!
|  | 206 | #REF!
|  | 207 | #REF!
|  | 208 | #REF!
|  | 209 | #REF!
|  | 210 | #REF!
|  | 211 | #REF!
|  | 212 | #REF!
|  | 213 | #REF!
|  | 214 | #REF!
|  | 215 | #REF!
|  | 216 | #REF!
|  | 217 | #REF!
|  | 218 | #REF!
|  | 219 | #REF!
|  | 220 | #REF!
|  | 221 | #REF!
|  | 222 | #REF!
|  | 223 | #REF!
|  | 224 | #REF!
|  | 225 | #REF!
|  | 226 | #REF!
|  | 227 | #REF!
|  | 228 | #REF!
|  | 229 | #REF!
|  | 230 | #REF!
|  | 231 | #REF!
|  | 232 | #REF!
|  | 233 | #REF!
|  | 234 | #REF!
|  | 235 | #REF!
|  | 236 | #REF!
|  | 237 | #REF!
|  | 238 | #REF!
|  | 239 | #REF!
|  | 240 | #REF!
|  | 241 | #REF!
|  | 242 | #REF!
|  | 243 | #REF!
|  | 244 | #REF!
|  | 245 | #REF!
|  | 246 | #REF!
|  | 247 | #REF!
|  | 248 | #REF!
|  | 249 | #REF!
|  | 250 | #REF!
|  | 251 | #REF!
|  | 252 | #REF!
|  | 253 | #REF!
|  | 254 | #REF!
|  | 255 | #REF!
|  | 256 | #REF!
|  | 257 | #REF!
|  | 258 | #REF!
|  | 259 | #REF!
|  | 260 | #REF!
|  | 261 | #REF!
|  | 262 | #REF!
|  | 263 | #REF!
|  | 264 | #REF!
|  | 265 | #REF!
|  | 266 | #REF!
|  | 267 | #REF!
|  | 268 | #REF!
|  | 269 | #REF!
|  | 270 | #REF!
|  | 271 | #REF!
|  | 272 | #REF!
|  | 273 | #REF!
|  | 274 | #REF!
|  | 275 | #REF!
|  | 276 | #REF!
|  | 277 | #REF!
|  | 278 | #REF!
|  | 279 | #REF!
|  | 280 | #REF!
|  | 281 | #REF!
|  | 282 | #REF!
|  | 283 | #REF!
|  | 284 | #REF!
|  | 285 | #REF!
|  | 286 | #REF!
|  | 287 | #REF!
|  | 288 | #REF!
|  | 289 | #REF!
|  | 290 | #REF!
|  | 291 | #REF!
|  | 292 | #REF!
|  | 293 | #REF!
|  | 294 | #REF!
|  | 295 | #REF!
|  | 296 | #REF!
|  | 297 | #REF!
|  | 298 | #REF!
|  | 299 | #REF!
|  | 300 | #REF!
|  | 301 | #REF!
|  | 302 | #REF!
|  | 303 | #REF!
|  | 304 | #REF!
|  | 305 | #REF!
|  | 306 | #REF!
|  | 307 | #REF!
|  | 308 | #REF!
|  | 309 | #REF!
|  | 310 | #REF!
|  | 311 | #REF!
|  | 312 | #REF!
|  | 313 | #REF!
|  | 314 | #REF!
|  | 315 | #REF!
|  | 316 | #REF!
|  | 317 | #REF!
|  | 318 | #REF!
|  | 319 | #REF!
|  | 320 | #REF!
|  | 321 | #REF!
|  | 322 | #REF!
|  | 323 | #REF!
|  | 324 | #REF!
|  | 325 | #REF!
|  | 326 | #REF!
|  | 327 | #REF!
|  | 328 | #REF!
|  | 329 | #REF!
|  | 330 | #REF!
|  | 331 | #REF!
|  | 332 | #REF!
|  | 333 | #REF!
|  | 334 | #REF!
|  | 335 | #REF!
|  | 336 | #REF!
|  | 337 | #REF!
|  | 338 | #REF!
|  | 339 | #REF!
|  | 340 | #REF!
|  | 341 | #REF!
|  | 342 | #REF!
|  | 343 | #REF!
|  | 344 | #REF!
|  | 345 | #REF!
|  | 346 | #REF!
|  | 347 | #REF!
|  | 348 | #REF!
|  | 349 | #REF!
|  | 350 | #REF!
|  | 351 | #REF!
|  | 352 | #REF!
|  | 353 | #REF!
|  | 354 | #REF!
|  | 355 | #REF!
|  | 356 | #REF!
|  | 357 | #REF!
|  | 358 | #REF!
|  | 359 | #REF!
|  | 360 | #REF!
|  | 361 | #REF!
|  | 362 | #REF!
|  | 363 | #REF!
|  | 364 | #REF!
|  | 365 | #REF!
|  | 366 | #REF!
|  | 367 | #REF!
|  | 368 | #REF!
|  | 369 | #REF!
|  | 370 | #REF!
|  | 371 | #REF!
|  | 372 | #REF!
|  | 373 | #REF!
|  | 374 | #REF!
|  | 375 | #REF!
|  | 376 | #REF!
|  | 377 | #REF!
|  | 378 | #REF!
|  | 379 | #REF!
|  | 380 | #REF!
|  | 381 | #REF!
|  | 382 | #REF!
|  | 383 | #REF!
|  | 384 | #REF!
|  | 385 | #REF!
|  | 386 | #REF!
|  | 387 | #REF!
|  | 388 | #REF!
|  | 389 | #REF!
|  | 390 | #REF!
|  | 391 | #REF!
|  | 392 | #REF!
|  | 393 | #REF!
|  | 394 | #REF!
|  | 395 | #REF!
|  | 396 | #REF!
|  | 397 | #REF!
|  | 398 | #REF!
|  | 399 | #REF!
|  | 400 | #REF!
|  | 401 | #REF!
|  | 402 | #REF!
|  | 403 | #REF!
|  | 404 | #REF!
|  | 405 | #REF!
|  | 406 | #REF!
|  | 407 | #REF!
|  | 408 | #REF!
|  | 409 | #REF!
|  | 410 | #REF!
|  | 411 | #REF!
|  | 412 | #REF!
|  | 413 | #REF!
|  | 414 | #REF!
|  | 415 | #REF!
|  | 416 | #REF!
|  | 417 | #REF!
|  | 418 | #REF!
|  | 419 | #REF!
|  | 420 | #REF!
|  | 421 | #REF!
|  | 422 | #REF!
|  | 423 | #REF!
|  | 424 | #REF!
|  | 425 | #REF!
|  | 426 | #REF!
|  | 427 | #REF!
|  | 428 | #REF!
|  | 429 | #REF!
|  | 430 | #REF!
|  | 431 | #REF!
|  | 432 | #REF!
|  | 433 | #REF!
|  | 434 | #REF!
|  | 435 | #REF!
|  | 436 | #REF!
|  | 437 | #REF!
|  | 438 | #REF!
|  | 439 | #REF!
|  | 440 | #REF!
|  | 441 | #REF!
|  | 442 | #REF!
|  | 443 | #REF!
|  | 444 | #REF!
|  | 445 | #REF!
|  | 446 | #REF!
|  | 447 | #REF!
|  | 448 | #REF!
|  | 449 | #REF!
|  | 450 | #REF!
|  | 451 | #REF!
|  | 452 | #REF!
|  | 453 | #REF!
|  | 454 | #REF!
|  | 455 | #REF!
|  | 456 | #REF!
|  | 457 | #REF!
|  | 458 | #REF!
|  | 459 | #REF!
|  | 460 | #REF!
|  | 461 | #REF!
|  | 462 | #REF!
|  | 463 | #REF!
|  | 464 | #REF!
|  | 465 | #REF!
|  | 466 | #REF!
|  | 467 | #REF!
|  | 468 | #REF!
|  | 469 | #REF!
|  | 470 | #REF!
|  | 471 | #REF!
|  | 472 | #REF!
|  | 473 | #REF!
|  | 474 | #REF!
|  | 475 | #REF!
|  | 476 | #REF!
|  | 477 | #REF!
|  | 478 | #REF!
|  | 479 | #REF!
|  | 480 | #REF!
|  | 481 | #REF!
|  | 482 | #REF!
|  | 483 | #REF!
|  | 484 | #REF!
|  | 485 | #REF!
|  | 486 | #REF!
|  | 487 | #REF!
|  | 488 | #REF!
|  | 489 | #REF!
|  | 490 | #REF!
|  | 491 | #REF!
|  | 492 | #REF!
|  | 493 | #REF!
|  | 494 | #REF!
|  | 495 | #REF!
|  | 496 | #REF!
|  | 497 | #REF!
|  | 498 | #REF!
|  | 499 | #REF!
|  | 500 | #REF!
|  | 501 | #REF!
|  | 502 | #REF!
|  | 503 | #REF!
|  | 504 | #REF!
|  | 505 | #REF!
|  | 506 | #REF!
|  | 507 | #REF!
|  | 508 | #REF!
|  | 509 | #REF!
|  | 510 | #REF!
|  | 511 | #REF!
|  | 512 | #REF!
|  | 513 | #REF!
|  | 514 | #REF!
|  | 515 | #REF!
|  | 516 | #REF!
|  | 517 | #REF!
|  | 518 | #REF!
|  | 519 | #REF!
|  | 520 | #REF!
|  | 521 | #REF!
|  | 522 | #REF!
|  | 523 | #REF!
|  | 524 | #REF!
|  | 525 | #REF!
|  | 526 | #REF!
|  | 527 | #REF!
|  | 528 | #REF!
|  | 529 | #REF!
|  | 530 | #REF!
|  | 531 | #REF!
|  | 532 | #REF!
|  | 533 | #REF!
|  | 534 | #REF!
|  | 535 | #REF!
|  | 536 | #REF!
|  | 537 | #REF!
|  | 538 | #REF!
|  | 539 | #REF!
|  | 540 | #REF!
|  | 541 | #REF!
|  | 542 | #REF!
|  | 543 | #REF!
|  | 544 | #REF!
|  | 545 | #REF!
|  | 546 | #REF!
|  | 547 | #REF!
|  | 548 | #REF!
|  | 549 | #REF!
|  | 550 | #REF!
|  | 551 | #REF!
|  | 552 | #REF!
|  | 553 | #REF!
|  | 554 | #REF!
|  | 555 | #REF!
|  | 556 | #REF!
|  | 557 | #REF!
|  | 558 | #REF!
|  | 559 | #REF!
|  | 560 | #REF!
|  | 561 | #REF!
|  | 562 | #REF!
|  | 563 | #REF!
|  | 564 | #REF!
|  | 565 | #REF!
|  | 566 | #REF!
|  | 567 | #REF!
|  | 568 | #REF!
|  | 569 | #REF!
|  | 570 | #REF!
|  | 571 | #REF!
|  | 572 | #REF!
|  | 573 | #REF!
|  | 574 | #REF!
|  | 575 | #REF!
|  | 576 | #REF!
|  | 577 | #REF!
|  | 578 | #REF!
|  | 579 | #REF!
|  | 580 | #REF!
|  | 581 | #REF!
|  | 582 | #REF!
|  | 583 | #REF!
|  | 584 | #REF!
|  | 585 | #REF!
|  | 586 | #REF!
|  | 587 | #REF!
|  | 588 | #REF!
|  | 589 | #REF!
|  | 590 | #REF!
|  | 591 | #REF!
|  | 592 | #REF!
|  | 593 | #REF!
|  | 594 | #REF!
|  | 595 | #REF!
|  | 596 | #REF!
|  | 597 | #REF!
|  | 598 | #REF!
|  | 599 | #REF!
|  | 600 | #REF!
|  | 601 | #REF!
|  | 602 | #REF!
|  | 603 | #REF!
|  | 604 | #REF!
|  | 605 | #REF!
|  | 606 | #REF!
|  | 607 | #REF!
|  | 608 | #REF!
|  | 609 | #REF!
|  | 610 | #REF!
|  | 611 | #REF!
|  | 612 | #REF!
|  | 613 | #REF!
|  | 614 | #REF!
|  | 615 | #REF!
|  | 616 | #REF!
|  | 617 | #REF!
|  | 618 | #REF!
|  | 619 | #REF!
|  | 620 | #REF!
|  | 621 | #REF!
|  | 622 | #REF!
|  | 623 | #REF!
|  | 624 | #REF!
|  | 625 | #REF!
|  | 626 | #REF!
|  | 627 | #REF!
|  | 628 | #REF!
|  | 629 | #REF!
|  | 630 | #REF!
|  | 631 | #REF!
|  | 632 | #REF!
|  | 633 | #REF!
|  | 634 | #REF!
|  | 635 | #REF!
|  | 636 | #REF!
|  | 637 | #REF!
|  | 638 | #REF!
|  | 639 | #REF!
|  | 640 | #REF!
|  | 641 | #REF!
|  | 642 | #REF!
|  | 643 | #REF!
|  | 644 | #REF!
|  | 645 | #REF!
|  | 646 | #REF!
|  | 647 | #REF!
|  | 648 | #REF!
|  | 649 | #REF!
|  | 650 | #REF!
|  | 651 | #REF!
|  | 652 | #REF!
|  | 653 | #REF!
|  | 654 | #REF!
|  | 655 | #REF!
|  | 656 | #REF!
|  | 657 | #REF!
|  | 658 | #REF!
|  | 659 | #REF!
|  | 660 | #REF!
|  | 661 | #REF!
|  | 662 | #REF!
|  | 663 | #REF!
|  | 664 | #REF!
|  | 665 | #REF!
|  | 666 | #REF!
|  | 667 | #REF!
|  | 668 | #REF!
|  | 669 | #REF!
|  | 670 | #REF!
|  | 671 | #REF!
|  | 672 | #REF!
|  | 673 | #REF!
|  | 674 | #REF!
|  | 675 | #REF!
|  | 676 | #REF!
|  | 677 | #REF!
|  | 678 | #REF!
|  | 679 | #REF!
|  | 680 | #REF!
|  | 681 | #REF!
|  | 682 | #REF!
|  | 683 | #REF!
|  | 684 | #REF!
|  | 685 | #REF!
|  | 686 | #REF!
|  | 687 | #REF!
|  | 688 | #REF!
|  | 689 | #REF!
|  | 690 | #REF!
|  | 691 | #REF!
|  | 692 | #REF!
|  | 693 | #REF!
|  | 694 | #REF!
|  | 695 | #REF!
|  | 696 | #REF!
|  | 697 | #REF!
|  | 698 | #REF!
|  | 699 | #REF!
|  | 700 | #REF!
|  | 701 | #REF!
|  | 702 | #REF!
|  | 703 | #REF!
|  | 704 | #REF!
|  | 705 | #REF!
|  | 706 | #REF!
|  | 707 | #REF!
|  | 708 | #REF!
|  | 709 | #REF!
|  | 710 | #REF!
|  | 711 | #REF!
|  | 712 | #REF!
|  | 713 | #REF!
|  | 714 | #REF!
|  | 715 | #REF!
|  | 716 | #REF!
|  | 717 | #REF!
|  | 718 | #REF!
|  | 719 | #REF!
|  | 720 | #REF!
|  | 721 | #REF!
|  | 722 | #REF!
|  | 723 | #REF!
|  | 724 | #REF!
|  | 725 | #REF!
|  | 726 | #REF!
|  | 727 | #REF!
|  | 728 | #REF!
|  | 729 | #REF!
|  | 730 | #REF!
|  | 731 | #REF!
|  | 732 | #REF!
|  | 733 | #REF!
|  | 734 | #REF!
|  | 735 | #REF!
|  | 736 | #REF!
|  | 737 | #REF!
|  | 738 | #REF!
|  | 739 | #REF!
|  | 740 | #REF!
|  | 741 | #REF!
|  | 742 | #REF!
|  | 743 | #REF!
|  | 744 | #REF!
|  | 745 | #REF!
|  | 746 | #REF!
|  | 747 | #REF!
|  | 748 | #REF!
|  | 749 | #REF!
|  | 750 | #REF!
|  | 751 | #REF!
|  | 752 | #REF!
|  | 753 | #REF!
|  | 754 | #REF!
|  | 755 | #REF!
|  | 756 | #REF!
|  | 757 | #REF!
|  | 758 | #REF!
|  | 759 | #REF!
|  | 760 | #REF!
|  | 761 | #REF!
|  | 762 | #REF!
|  | 763 | #REF!
|  | 764 | #REF!
|  | 765 | #REF!
|  | 766 | #REF!
|  | 767 | #REF!
|  | 768 | #REF!
|  | 769 | #REF!
|  | 770 | #REF!
|  | 771 | #REF!
|  | 772 | #REF!
|  | 773 | #REF!
|  | 774 | #REF!
|  | 775 | #REF!
|  | 776 | #REF!
|  | 777 | #REF!
|  | 778 | #REF!
|  | 779 | #REF!
|  | 780 | #REF!
|  | 781 | #REF!
|  | 782 | #REF!
|  | 783 | #REF!
|  | 784 | #REF!
|  | 785 | #REF!
|  | 786 | #REF!
|  | 787 | #REF!
|  | 788 | #REF!
|  | 789 | #REF!
|  | 790 | #REF!
|  | 791 | #REF!
|  | 792 | #REF!
|  | 793 | #REF!
|  | 794 | #REF!
|  | 795 | #REF!
|  | 796 | #REF!
|  | 797 | #REF!
|  | 798 | #REF!
|  | 799 | #REF!
|  | 800 | #REF!
|  | 801 | #REF!
|  | 802 | #REF!
|  | 803 | #REF!
|  | 804 | #REF!
|  | 805 | #REF!
|  | 806 | #REF!
|  | 807 | #REF!
|  | 808 | #REF!
|  | 809 | #REF!
|  | 810 | #REF!
|  | 811 | #REF!
|  | 812 | #REF!
|  | 813 | #REF!
|  | 814 | #REF!
|  | 815 | #REF!
|  | 816 | #REF!
|  | 817 | #REF!
|  | 818 | #REF!
|  | 819 | #REF!
|  | 820 | #REF!
|  | 821 | #REF!
|  | 822 | #REF!
|  | 823 | #REF!
|  | 824 | #REF!
|  | 825 | #REF!
|  | 826 | #REF!
|  | 827 | #REF!
|  | 828 | #REF!
|  | 829 | #REF!
|  | 830 | #REF!
|  | 831 | #REF!
|  | 832 | #REF!
|  | 833 | #REF!
|  | 834 | #REF!
|  | 835 | #REF!
|  | 836 | #REF!
|  | 837 | #REF!
|  | 838 | #REF!
|  | 839 | #REF!
|  | 840 | #REF!
|  | 841 | #REF!
|  | 842 | #REF!
|  | 843 | #REF!
|  | 844 | #REF!
|  | 845 | #REF!
|  | 846 | #REF!
|  | 847 | #REF!
|  | 848 | #REF!
|  | 849 | #REF!
|  | 850 | #REF!
|  | 851 | #REF!
|  | 852 | #REF!
|  | 853 | #REF!
|  | 854 | #REF!
|  | 855 | #REF!
|  | 856 | #REF!
|  | 857 | #REF!
|  | 858 | #REF!
|  | 859 | #REF!
|  | 860 | #REF!
|  | 861 | #REF!
|  | 862 | #REF!
|  | 863 | #REF!
|  | 864 | #REF!
|  | 865 | #REF!
|  | 866 | #REF!
|  | 867 | #REF!
|  | 868 | #REF!
|  | 869 | #REF!
|  | 870 | #REF!
|  | 871 | #REF!
|  | 872 | #REF!
|  | 873 | #REF!
|  | 874 | #REF!
|  | 875 | #REF!
|  | 876 | #REF!
|  | 877 | #REF!
|  | 878 | #REF!
|  | 879 | #REF!
|  | 880 | #REF!
|  | 881 | #REF!
|  | 882 | #REF!
|  | 883 | #REF!
|  | 884 | #REF!
|  | 885 | #REF!
|  | 886 | #REF!
|  | 887 | #REF!
|  | 888 | #REF!
|  | 889 | #REF!
|  | 890 | #REF!
|  | 891 | #REF!
|  | 892 | #REF!
|  | 893 | #REF!
|  | 894 | #REF!
|  | 895 | #REF!
|  | 896 | #REF!
|  | 897 | #REF!
|  | 898 | #REF!
|  | 899 | #REF!
|  | 900 | #REF!
|  | 901 | #REF!
|  | 902 | #REF!
|  | 903 | #REF!
|  | 904 | #REF!
|  | 905 | #REF!
|  | 906 | #REF!
|  | 907 | #REF!
|  | 908 | #REF!
|  | 909 | #REF!
|  | 910 | #REF!
|  | 911 | #REF!
|  | 912 | #REF!
|  | 913 | #REF!
|  | 914 | #REF!
|  | 915 | #REF!
|  | 916 | #REF!
|  | 917 | #REF!
|  | 918 | #REF!
|  | 919 | #REF!
|  | 920 | #REF!
|  | 921 | #REF!
|  | 922 | #REF!
|  | 923 | #REF!
|  | 924 | #REF!
|  | 925 | #REF!
|  | 926 | #REF!
|  | 927 | #REF!
|  | 928 | #REF!
|  | 929 | #REF!
|  | 930 | #REF!
|  | 931 | #REF!
|  | 932 | #REF!
|  | 933 | #REF!
|  | 934 | #REF!
|  | 935 | #REF!
|  | 936 | #REF!
|  | 937 | #REF!
|  | 938 | #REF!
|  | 939 | #REF!
|  | 940 | #REF!
|  | 941 | #REF!
|  | 942 | #REF!
|  | 943 | #REF!
|  | 944 | #REF!
|  | 945 | #REF!
|  | 946 | #REF!
|  | 947 | #REF!
|  | 948 | #REF!
|  | 949 | #REF!
|  | 950 | #REF!
|  | 951 | #REF!
|  | 952 | #REF!
|  | 953 | #REF!
|  | 954 | #REF!
|  | 955 | #REF!
|  | 956 | #REF!
|  | 957 | #REF!
|  | 958 | #REF!
|  | 959 | #REF!
|  | 960 | #REF!
|  | 961 | #REF!
|  | 962 | #REF!
|  | 963 | #REF!
|  | 964 | #REF!
|  | 965 | #REF!
|  | 966 | #REF!
|  | 967 | #REF!
|  | 968 | #REF!
|  | 969 | #REF!
|  | 970 | #REF!
|  | 971 | #REF!
|  | 972 | #REF!
|  | 973 | #REF!
|  | 974 | #REF!
|  | 975 | #REF!
|  | 976 | #REF!
|  | 977 | #REF!
|  | 978 | #REF!
|  | 979 | #REF!
|  | 980 | #REF!
|  | 981 | #REF!
|  | 982 | #REF!
|  | 983 | #REF!
|  | 984 | #REF!
|  | 985 | #REF!
|  | 986 | #REF!
|  | 987 | #REF!
|  | 988 | #REF!
|  | 989 | #REF!
|  | 990 | #REF!
|  | 991 | #REF!
|  | 992 | #REF!
|  | 993 | #REF!
|  | 994 | #REF!
|  | 995 | #REF!
|  | 996 | #REF!
|  | 997 | #REF!
|  | 998 | #REF!
|  | 999 | #REF!
|  | 1000 | #REF!
|  | 1001 | #REF!
|  | 1002 | #REF!
|  | 1003 | #REF!
|  | 1004 | #REF!
|  | 1005 | #REF!
|  | 1006 | #REF!
|  | 1007 | #REF!
|  | 1008 | #REF!
|  | 1009 | #REF!
|  | 1010 | #REF!
|  | 1011 | #REF!
|  | 1012 | #REF!
|  | 1013 | #REF!
|  | 1014 | #REF!
|  | 1015 | #REF!
|  | 1016 | #REF!
|  | 1017 | #REF!
|  | 1018 | #REF!
|  | 1019 | #REF!
|  | 1020 | #REF!
|  | 1021 | #REF!
|  | 1022 | #REF!
|  | 1023 | #REF!
|  | 1024 | #REF!